## Slide 1: Brain Tumor Semantic Segmentation with 2D U-Net
Adrian-Valentin Ciu

## Slide 2: semantic segmentation
This presentation covers the development and evaluation of a deep learning model for semantic segmentation of brain tumors using MRI scans from the BRATS dataset. I use a 2D U-Net architecture.

## Slide 3: Dataset Overview
Dataset: BRATS (Brain Tumor Segmentation Challenge)
- Data format: 3D NIfTI (.nii.gz)
- Modalities: FLAIR, T1w, T1gd, T2w
- Labels: 0 - Background, 1 - Edema, 2 - Non-enhancing tumor, 3 - Enhancing tumor
- 484 labeled training samples, 266 test samples (unlabeled)

## Slide 4: Task Definition
Problem Type: Semantic segmentation
- Input: 2D axial MRI slices
- Output: Pixel-wise label masks (4 classes)
- Objective: Accurately localize and classify tumor subregions

## Slide 5: Preprocessing Strategy
- Extract 2D axial slices containing tumors
- Normalize each slice using Z-score normalization
- Use lazy loading to manage memory efficiently
- Convert slices to shape: (1, H, W) for CNN input

## Slide 6: Dataset Implementation
- Custom PyTorch Dataset class
- Load NIfTI files using nibabel
- Normalize on the fly in __getitem__
- Efficient slice indexing and filtering
- Optional hooks for data augmentation

## Slide 7: Visualization of Samples
- Plotted 2D MRI slices alongside segmentation masks
- Used consistent color mapping (nipy_spectral)
- Ensured masks are correctly aligned with inputs
- Aids in verifying dataset integrity before training

## Slide 8: Model Architecture: 2D U-Net
- Encoder-decoder structure
- Encoder: Convolutions + max pooling
- Decoder: Transposed convolutions + skip connections
- Final layer: 1x1 conv for class prediction
- Output shape: (batch_size, 4, H, W)

## Slide 9: Transfer Learning with ResNet Encoder
- Used segmentation_models.pytorch (SMP) library
- Encoder: Pretrained ResNet34 on ImageNet
- Input channels adjusted for grayscale MRI
- Benefits: faster convergence, improved generalization

## Slide 10: Training Configuration
- Loss: CrossEntropyLoss (multi-class)
- Optimizer: Adam
- Learning rate: 1e-3, batch size: 8
- Training for 3+ epochs
- Run on GPU if available

## Slide 11: Validation Strategy
- Split dataset 70/15/15 into training, validation and test
- Test set used only for evaluation
- Dice score monitored to check generalization

## Slide 12: Early Stopping
- Monitors validation Dice score
- Stops training if no improvement for 5 epochs
- Prevents overfitting and wasted compute
- Custom early stopping callback implemented

## Slide 13: Model Evaluation Metrics
- Dice Score (per class and average)
- Pixel accuracy: correct pixels / total pixels
- Optional: confusion matrix to analyze misclassifications

## Slide 14: Visualizing Predictions
- Compare original image, ground truth, and prediction
- Helps qualitatively assess performance
- Highlights failure modes or strong segmentation results

## Slide 15: Model Saving and Loading
- Save path: models/unet2d_final.pth
- Format: model.state_dict() in PyTorch
- Supports reproducibility and fine-tuning
- Can reload model for inference or continued training

## Slide 16: Summary of Results
- Average Dice Score ~0.78 (variable)
- Enhancing tumor class performed best
- Challenges: class imbalance, similar textures
- 2D U-Net with transfer learning performs well

## Slide 17: Future Work
- Upgrade to 3D U-Net for volumetric context
- Use all modalities as multi-channel input
- Integrate data augmentation (elastic transforms, flips)
- Test other pretrained encoders (e.g., EfficientNet)

## Slide 18: References and Resources
- BRATS: https://www.med.upenn.edu/sbia/brats2017.html
- SMP: https://github.com/qubvel/segmentation_models.pytorch
- PyTorch: https://pytorch.org
- Nibabel: https://nipy.org/nibabel
- BRATS Paper: https://www.nature.com/articles/s41467-022-30695-9